## Slide 1
Green Reps Network Meeting
19/07/2016
Reasons for setting up a Green Reps Network
Aims of the Network
Example areas to investigate and share knowledge
What can the network do for you?
Initial Priorities & Actions

## Slide 2
Chart: 
| Department Building | PGF
2015 Electricity Cost | 174050 | 325830
Chart: 2015 Plant Sciences Building D013 Daily Elec Trend (weekday and weekend separate)
| 2.0833333333333332E-2 | 4.1666666666666664E-2 | 6.25E-2 | 8.3333333333333329E-2 | 0.10416666666666667 | 0.125 | 0.14583333333333334 | 0.16666666666666666 | 0.1875 | 0.20833333333333334 | 0.22916666666666666 | 0.25 | 0.27083333333333331 | 0.29166666666666669 | 0.3125 | 0.33333333333333331 | 0.35416666666666669 | 0.375 | 0.39583333333333331 | 0.41666666666666669 | 0.4375 | 0.45833333333333331 | 0.47916666666666669 | 0.5 | 0.52083333333333337 | 0.54166666666666663 | 0.5625 | 0.58333333333333337 | 0.60416666666666663 | 0.625 | 0.64583333333333337 | 0.66666666666666663 | 0.6875 | 0.70833333333333337 | 0.72916666666666663 | 0.75 | 0.77083333333333337 | 0.79166666666666663 | 0.8125 | 0.83333333333333337 | 0.85416666666666663 | 0.875 | 0.89583333333333337 | 0.91666666666666663 | 0.9375 | 0.95833333333333337 | 0.97916666666666663 | 1
AVG WEEKDAYS >0 (£/hour) | 13.6077 | 16.0544 | 14.8476 | 14.6571 | 14.6063 | 14.6274 | 14.6223 | 14.6274 | 14.5561 | 14.57 | 14.9286 | 15.5618 | 17.0521 | 20.4692 | 23.808 | 24.9139 | 25.7635 | 26.7313 | 27.1918 | 26.9115 | 26.6029 | 27.7524 | 27.1822 | 26.6189 | 27.0391 | 28.1394 | 28.2517 | 27.1767 | 26.566 | 27.2825 | 26.8084 | 26.0594 | 25.788 | 25.4829 | 24.2983 | 23.2457 | 22.1776 | 21.1801 | 20.0665 | 19.249 | 18.3613 | 17.8306 | 17.4195 | 17.0364 | 16.4026 | 15.525 | 15.2058 | 15.0519
AVG WEEKENDS >0 (£/hour) | 14.3508 | 14.0167 | 14.3625 | 14.3025 | 14.2683 | 14.2242 | 14.2667 | 14.225 | 14.2167 | 14.2783 | 14.605 | 14.9408 | 15.6592 | 16.4233 | 17.3025 | 17.6717 | 18.2683 | 18.23 | 18.1417 | 18.3892 | 18.2092 | 18.3008 | 18.2108 | 18.09 | 18.0742 | 17.9042 | 17.84 | 17.9042 | 17.8283 | 17.9883 | 18.2217 | 18.0833 | 18.5025 | 18.5208 | 18.4692 | 18.3342 | 18.2657 | 18.1138 | 17.8287 | 17.5521 | 17.0441 | 16.7266 | 16.444 | 16.2117 | 15.74 | 14.995 | 14.64 | 14.5925

## Slide 3
Chart: 2016 YTD PlantSci Building Weekly Electricity Cost Breakdown
| Metered Air Con | IT Servers | IT Servers Chilling | Epidemiology Lab | Teaching Lab | 3rd Floor Lab (inc. West Offices) | Other
 | 0.121 | 0.069411 | 0.038001 | 0.01229 | 0.02551 | 0.11699 | 0.6168
Metered Air Con | £ 395
IT Servers | £ 225
IT Servers Chilling | £ 125
Epidemiology Lab | £ 40
Teaching Lab | £ 85
3rd Floor Lab (inc. West Offices) | £ 380
Other | £ 1,990

## Slide 4
Chart: 1F Air-Con Condensers Consumption SUM (G1-3, M1, M2, Lab 101) 2015&16
2015 | 178 | 148.5 | 127 | 98 | 106 | 98 | 284 | 437 | 387 | 355 | 375 | 424 | 373 | 349 | 413 | 528 | 458 | 478 | 446 | 476 | 484 | 455 | 557 | 546 | 605 | 657 | 1017 | 805 | 847 | 624 | 596 | 825 | 714 | 606 | 446 | 405 | 414 | 254 | 264 | 252 | 225 | 225 | 287 | 237 | 203 | 203 | 238 | 166 | 187 | 155 | 152 | 163 | 209
2016 | 175 | 225 | 214 | 241 | 235 | 282 | 226 | 266 | 272 | 224 | 264 | 264 | 297 | 335 | 315 | 268 | 283 | 479 | 609 | 423 | 509 | 356 | 715 | 656 | 613 | 455 | 695 | 666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chart: 3rd Floor Electricity Consumption (Everything west of lift) 2015&16
2015 | 2315.5 | 2684.4 | 2770.8 | 2668.7 | 2717.3 | 2764.1 | 2918.5 | 2824.1 | 2836 | 2792.9 | 2859 | 2753.8 | 2999.6 | 2781.6 | 2634.5 | 2669.9 | 2629.5 | 2748.3 | 2725.4 | 2896.4 | 2919.7 | 2888.1 | 2900.2 | 2945.6 | 2892.2 | 2974.7 | 2904.9 | 2954.8 | 2892.8 | 2900.107 | 2878.2 | 3010.6 | 2864.3 | 2956 | 2935 | 2777.6 | 2894.3 | 2944.8 | 2930 | 2909 | 2934 | 2936 | 2873 | 2826 | 2865 | 3010 | 3062 | 3002 | 2992 | 2768 | 2751 | 2503 | 2226
2016 | 2707 | 2822 | 2810 | 2754 | 2440 | 2430 | 2451 | 2394 | 2492 | 2615 | 2637 | 2528 | 2574 | 2753 | 2775 | 2708 | 2749 | 2636 | 2759 | 2814 | 2799 | 2764 | 2845 | 2881 | 2808 | 2818 | 2946 | 2992 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 5
Ultra-Low temp Freezers use 9% of the building’s electricity (£16,500 per year!).

## Slide 6
Ultra-Low Freezer Management
Bench-top Equipment Usage & Timers
Recycling Rates
Chemical Usage & Sharing
Staff & Student Awareness/Information/Induction
Equipment Booking Systems
Travel
Modelling Hosting & Servers
Sharing Knowledge & Good Practice
Optimising lighting, air-con